## Slide 1
IOTA/IONIC observations of Vega results and lessons learned
Denis Defrère
10-02-2011
ANR kick-off meeting, IPAG
Notes: IOTA/IONIC similar to PIONIER + same camera

## Slide 2: Context
Vega observed in June 2006 with IOTA/IONIC:
  4 nights of data (2 different triplets);
  H band (1.65 µm);
  Dual polarizations;
  PICNIC camera.
Data reduction effort:
  2006 - 2007: First data reduction;
  Sep. 2007: Non-linear regime and color problem;
  Nov. 2007: Polarization 2 is healthy;
  Nov. 2010: Color-dependant behaviour of the IONIC3 component;
  Present: reliable error bars.

## Slide 3
2006-2007
first reduction
Vega10 June
Vega 09 June

## Slide 4
Sept. 2007: problems start!
x : Vega (H=0.0)
x : p Her (H=-0.1)
x : q Her (H=1.2)
x : l Lyr (H=1.8)
x : k Lyr (H=1.9
Photometries
vs
time
x : interferometric
◊ : matrix

## Slide 5
Sept. 2007: problems start!
x : Vega (H=0.0)
x : p Her (H=-0.1)
x : q Her (H=1.2)
x : l Lyr (H=1.8)
x : k Lyr (H=1.9)
Photometries
vs
time
x : interferometric
◊ : matrix

## Slide 6
x : b Leo (H=1.9)
x : d Leo (H=2.19)
x : 24 Com (H=2.5)
x : interferometric
◊ : matrix
Photometries
vs
time
Sept. 2007: problems start!

## Slide 7
A
B
C
A-C
A-B
B-C
Typical scan for p Her
--- : matrix
: interferometric

## Slide 8
A-C
A-B
B-C
Typical scan for Vega
A
B
C
--- : matrix
: interferometric
Notes: Offset event at the beginning of the scan!!!!!!
Problem at the reset? Negative value?
We have observed that when a single pixel in the row containing the interferometric signals is strongly illuminated (but not saturated), the dark level on neighboring pixels are corrupted: the photometric signal becomes negative, clearly an effect due to an analog transient and not a true light or charge leakage effect.

## Slide 9
A-C
A-B
B-C
Typical scan for Vega
2 problems!
Slope during the scan.
Offset between the matrix and interferometric files.
Notes: Offset event at the beginning of the scan!!!!!!
Problem at the reset? Negative value?
We have observed that when a single pixel in the row containing the interferometric signals is strongly illuminated (but not saturated), the dark level on neighboring pixels are corrupted: the photometric signal becomes negative, clearly an effect due to an analog transient and not a true light or charge leakage effect.

## Slide 10
Slope problem: non-linear regime
x : Vega (H=0.0)
x : p Her (H=-0.1)
x : q Her (H=1.2)
x : l Lyr (H=1.8)
x : k Lyr (H=1.9)

## Slide 11
Offset problem: color related
x : Vega (H=0.0)
x : p Her (H=-0.1)
x : q Her (H=1.2)
x : l Lyr (H=1.8)
x : k Lyr (H=1.9)

## Slide 12
Offset problem: color related
x : Vega (H=0.0)
x : p Her (H=-0.1)
x : q Her (H=1.2)
x : l Lyr (H=1.8)
x : k Lyr (H=1.9)
Notes: Origin unknown

## Slide 13
Offset problem: origin?
Not related to non-linearity
Kappa coefficients OK
Notes: Origin unknown

## Slide 14
Kappa coefficients
x : Vega (H=0.0)
x : p Her (H=0.1)
x : q Her (H=1.2)
x : l Lyr (H=1.8)
x : k Lyr (H=1.9)

## Slide 15
Impact on raw V2
Non-linearity spoils V2

## Slide 16
Impact on raw V2
Offset no significant impact

## Slide 17
Chromatic response of IONIC
Analysis of dispersed data
  Setup 1: Lacour 2006
  Setup 2: Pedretti 2006

## Slide 18
What have we learned?
Camera-related problems:
  Non-linearity: impact on V2
  Offset matrix-interferometric fluxes: no impact on V2
IONIC3-related problem:
  Chromaticity of the component: main limitation on broadband V2
  Chromaticity is setup-dependant!

## Slide 19
Data analysis
Detection of an H-band excess at the 3-s level

## Slide 20
Data analysis
Geometry not constrained

## Slide 21
Data analysis
Point-symmetric brightness distribution

## Slide 22
EZ dust disk modeling
Best fit SED:
50% Silicates
&
50% Carbon
Density profile
-3
Ro ~ 0.05 au

## Slide 23: Summary
3-s confirmation of exozodiacal dust around Vega
  Best fit for a narrow annulus (Ro ~ 0.05 au)
  Point-symmetric brightness distribution
  Consistent with fiber nuller and Keck nuller “non-detection”
Long data reduction effort to prove high-accuracy V2
  IONIC3 chromaticity is the main limitation (otherwise <0.5% accuracy)
  Characterize it for PIONIER! (and used good calibrators)